NEWRY, MOURNE AND DOWN DISTRICT COUNCIL

THE TTheE SAFETY OF SPORTS GROUNDS

(NORTHERN IRELAND) ORDER 2006

GENERAL SAFETY CERTIFICATE

Certificate Number: 2022/23 - 01

The Showgrounds

Greenbank Industrial Estate

Newry

Co. Down

BT34 2QU

THE TTheE SAFETY OF SPORTS GROUNDS

(NORTHERN IRELAND) ORDER 2006

GENERAL SAFETY CERTIFICATE

The Showgrounds

Information									Page 3 - 4

General Safety Certificate							Page 5 - 9

Appendix 1	Definitions							Page 10 - 11

Appendix 2 	Specified activities						Page 12 -13

Appendix 3 	Buildings structures and Installations			Page 14

Appendix 4	Structures/ equipment testing arrangements		Page 15

Appendix 5	Permitted numbers of spectators				Page 16 - 19

Appendix 6	Location and number of stewards				Page 20 -23

Appendix 7	First aid / medical						Page 24 -25

Appendix 8	Fire safety							Page 26

Appendix 9	Communication arrangements				Page 28

Appendix 10	Miscellaneous						Page 29

Appendix 11	Plans and related documentation				Page 30

INFORMATION

Fees - Article 3 of The Safety of Sports Grounds (Fees and Appeals) Regulations (NI) 2009 sets the fees that Councils can charge in respect of an application for the issue, amendment, replacement or transfer of a safety certificate for a designated sports ground or regulated stand.

Prohibition Notices - Article 9 of the Safety of Sports Grounds (NI) 2006 Order enables a Council to serve Prohibition Notices.

A Prohibition Notice may be issued by a Council in respect of any sports ground or part of a sports ground.

A Prohibition Notice shall be issued if the Council is of the opinion that the admission of spectators to a sports ground or any part of a sports ground involves or will involve a risk to them so serious that until steps have been taken to reduce it to a reasonable level, admission of spectators to the ground, or part of the ground, ought to be prohibited or restricted.

Newry, Mourne and Down District Council shall apply its enforcement policy with regard to the issuing of Prohibition Notices.

The Environment and Safety Information (Northern Ireland) Order 1993 requires that a register of Prohibition Notices be maintained and open to inspection by the public, free of charge.

Right of Entry and Inspection - Article 23 of the 2006 Order gives authorised persons the power to enter and inspect a sports ground and to make any inquiries as are considered necessary for the purposes of the Order.  Authorised persons also have power to examine records of attendance at the ground and records relating to the maintenance of safety at the ground, and to take copies of such records.

Alterations and Extensions - Article 20 of the 2006 Order requires notice to be given to the Council regarding any proposed significant alteration or extension to the stadium which is likely to affect the safety of persons.  Notice should always be given when it is proposed to alter the entrances to or the exits from the stadium.

Offences and Penalties - Admitting spectators to a sports ground at a time when no application for a safety certificate has been made or where a certificate does not relate to the current sports ground or has been withdrawn, admitting spectators to a sports ground on an occasion when it is used for an activity to which neither a general safety certificate or a special certificate relates, admitting spectators to a designated sports ground following the surrender or  cancellation of a safety certificate, contravening any term or condition of a certificate (otherwise than in pursuance of a Prohibition Notice), or in contravention of a Prohibition Notice; the penalty is, on summary conviction, a fine not exceeding the statutory maximum or, on conviction on indictment, a fine or imprisonment for a term not exceeding two years, or both. In accordance with Article 11(1) of the (2006) Order.

NOTE : spectators may enter the sports ground for an entertainment activity covered under the provisions of paragraph 2 of schedule 1 to the Local Government (Miscellaneous Provisions) (Northern Ireland) Order 1985 and for which an entertainment license issued under that Order is in place.

(b) 	Knowingly or recklessly making a false statement or producing, signing, furnishing or otherwise making use of a document containing a false statement, a fine not exceeding level 5 on the standard scale in accordance with an Article 11(6) of the (2006) Order.

(c) 	Failing to give notice of an alteration or extension to the sports ground, a fine not exceeding level 5 on the standard scale in accordance with Article 20(4) of the (2006) Order.

(d)	Obstructing an authorised person, or without reasonable excuse refuses, neglects or otherwise fails to answer any question by an authorised person the penalty is on summary conviction, a fine not exceeding level 5 on the standard scale in accordance to Article 23(3) of the (2006) Order.

Appeals - Article 8(1) of the 2006 Order provides that an applicant for a safety certificate or for the transfer of a certificate may appeal to a Magistrates Court against the determination by a Council that they are not a Qualified Person.

Articles 8 (3) and Article 17(4) of the 2006 Order provides that an interested party may appeal to a Magistrates' Court against the inclusion of anything in, or the omission of anything from, a safety certificate.

Transfer of the Certificate - If the holder of the safety certificate ceases to be the person responsible for the management of the ground, an application must be made to the council for the transfer of the certificate to some other Qualified Person in accordance with Article 7(5) of the 2006 Order.

NOTE: No variation (or amendment) of the terms and conditions of a safety certificate shall be permitted other than by formal revision.

THE TTheE SAFETY OF SPORTS GROUNDS

(NORTHERN IRELAND) ORDER 2006

GENERAL SAFETY CERTIFICATE

The Showgrounds

1.	In exercise of the powers conferred by the Safety of Sports Grounds (Northern Ireland) Order 2006 and related legislation.

Newry, Mourne and Down District Council

hereby issues to:

Mr Martin McLoughlin

this General Safety Certificate in respect of

‘The Showgrounds, Greenbank Industrial Estate, Newry, Co. Down, BT34 2QX’

Being a sports ground designated by The Safety of Sports Grounds (Designation) Order (Northern Ireland) 2009.

2.	This Certificate includes the Appendices, Drawings and related documents attached hereto.

3.	The words used in this Certificate and related documents shall have the meaning assigned to them by the Safety of Sports Grounds (Northern Ireland) Order 2006, the Guide to Safety at Sports Grounds (Green Guide Sixth Edition), and Appendix 1.

4.	The Qualified Person shall retain control of the sports ground and shall take all necessary precautions for the reasonable safety of spectators admitted.

The Qualified Person shall have responsibility for the safety of spectators at the sports ground.

5.	The Qualified Person shall ensure that a Safety Policy Statement for spectators is produced.  This Policy Statement should outline the chain of command, cover the safety objectives, and the means of achieving them.  The Qualified Person shall take steps to ensure that the policy is communicated to and understood by all staff and voluntary personnel who carry out work activities at the sports ground.

The Qualified Person shall also ensure that the Safety Policy Statement is kept under review and is revised as appropriate and that a copy is kept with this General Safety Certificate.

The Qualified Person shall appoint a person(s) to be responsible for the implementation of the policies.

The Qualified Person shall make copies of the Safety Policy Statement available to authorised persons under the 2006 Order.

6.	The Qualified Person shall ensure compliance with the terms and conditions of this Certificate and related documents at all times when the sports ground is in use for specified activities.

- The use of the sports ground for spectator events under this General Safety Certificate is restricted to those activities specified in Appendix 2, and is subject to the terms and conditions set out in this Certificate.

- The Qualified Person shall give notice to the District Council, the Police Service of Northern Ireland, the Northern Ireland Fire and Rescue Service and the Northern Ireland Ambulance Service of all forthcoming specified activities.  This period of notice shall be, where possible, not less than 28 days, particularly for higher risk events (this information could be conveyed via the Safety Advisory Group for the sports ground).

In the case of a dispute between Newry City Athletic Football Club and the Council or PSNI regarding the risk categorisation of a fixture, the matter shall be referred to the Safety Advisory Group by the Council or PSNI for detailed consideration, and the Council shall determine the risk category of the specified activity.

* Note: Where it is not possible to give 28 days notice of a specified activity a written explanation must be provided when requested.

9.	The Qualified Person shall ensure that plans showing the layout of the sports ground, buildings, and equipment are produced and amended as appropriate.  The Qualified Person shall ensure that all details considered appropriate by the District Council in connection with the Safety Certificate are included within the documentation. The plans and related documentation should be forwarded to the District Council and a copy shall be kept with this General Safety Certificate.

The Qualified Person shall provide copies of this documentation upon request to persons authorised under the 2006 Order.

10. The Qualified Person shall ensure that:

- all buildings and structures are of sound construction and in good repair;

- all means of ingress and egress are unobstructed and in good repair during specified activities; and

- all electrical, mechanical and heating installations are maintained, in good repair and condition as to enable them to function in a safe manner.

The Qualified Person shall also ensure that the use of such buildings, structures including temporary demountable structures and installations does not place spectators at risk.

A list of buildings, structures and installations is included in Appendix 3.

- The Qualified Person shall ensure that inspections and testing is carried out to the structures and services at the sports ground in accordance with the content of the Guide to Safety at Sports Grounds (Green Guide Sixth Edition).  Structures and services that fail the relevant test shall be immediately repaired or taken out of service.  The Qualified Person shall inform the District Council where there is an impact on the safety of spectators.

Records of the inspections and testing shall be recorded and made available for inspection by persons authorised under the 2006 Order.

A list of structures and services that require inspection / testing and recommended test periods is included in Appendix 4.

- The Qualified Person shall provide such information regarding alterations or extensions to the sports ground or any changes in circumstances, e.g. erection of a temporary structure that may impact on the safety of spectators to the District Council in writing as soon as practicable.

- The Qualified Person shall take appropriate steps to ensure that the maximum number of spectators that may be admitted at any one time to the sports ground and to each part thereof shall not exceed the capacities specified in Appendix 5, and shall also ensure that the measures for managing crowds prescribed in this certificate are observed.  The Qualified Person should take appropriate steps to ensure that the arrangements for the access to and egress from the sports ground as included in Appendix 5 are met.

- The Qualified Person shall ensure equipment, stewards and other staff are provided, to monitor, direct, guide, control and assist spectators during specified activities and as set out in Appendix 6. The Qualified Person shall consult with PSNI to determine if a police presence is required at the ground for the specified activity.

The Qualified Person shall make arrangements with the PSNI to secure the attendance at the sports ground of sufficient numbers of PSNI officers as is considered appropriate for those specified activities where a police presence is required.  (It will be for the Chief Constable to determine the level of PSNI presence).

In a case of dispute between the Qualified Person and PSNI regarding the need for a PSNI presence at the specified activity, the matter shall be referred to the Safety Advisory Group by the Qualified Person (via the District Council) for detailed consideration.  The District Council will make a final determination.  The referral shall take place at least 28 days prior to the specified activity taking place or as soon as is reasonably practicable.

A signed copy of the Statement of Intent should be kept with this certificate.

- The Qualified Person shall ensure first aid and medical staff, equipment, facilities and accommodation are provided as set out in Appendix 7.

- The Qualified Person shall ensure that a Fire Safety Risk Assessment for the sports ground is undertaken by a competent person (and updated as appropriate) and shall ensure that the controls identified in the Risk Assessment are implemented and properly maintained.  A copy of the Fire Risk Assessment and any subsequent amendments shall be forwarded to the District Council and copies made available to persons authorised under Article 23 of the (2006) Order upon request.

A copy of the Fire Risk Assessment should be kept with the General Safety Certificate.  Control arrangements shall be included in Appendix 8.

17.	The Qualified Person shall ensure that suitable communication systems are in place within the venue to ensure the safety of spectators whilst they are inside, or at access and egress 	points to the sports grounds. The communication arrangements should be appropriate for the normal running of an event and in an emergency situation. Communication equipment is likely to include a PA system audible throughout the venue (and where appropriate a back up system), short wave radios, loud hailers and a telephone line for external communication.  The Qualified Person shall ensure the maintenance of all of communication equipment.

A list of the communication equipment and arrangements is detailed in Appendix 9.

18.	The Qualified Person shall appoint a Safety Officer(s) and, where appropriate, an Assistant Safety Officer(s) who shall take charge of the specified activities at the sports ground.  These personnel shall be of appropriate competence, status and authority to take responsibility for the implementation of the safety arrangements at the sports ground.

The Qualified Person shall ensure that the Safety Officer(s) is accountable to Senior Management or the Board of Directors.

The Qualified Person shall set out in writing the duties of the Safety Officer(s) and a copy of the job description(s) shall be kept with the General Safety Certificate.

The Safety Officer should carry out inspections in accordance with paragraph 5.9 of The Guide to Safety at Sports Grounds (Green Guide Sixth Edition).

The Qualified Person shall advise the District Council of the names of the Safety Officer(s) and where appropriate the Assistant Safety Officer(s) in writing upon their appointment.

The Qualified Person shall ensure that the miscellaneous requirements as set out in Appendix 10 are implemented

19.	The Qualified Person shall produce a Contingency Plan.  This should be based on a risk assessment undertaken to indicate the hazards that should to be considered in contingency planning for the venue.  The plan shall be produced in consultation with the Police Service for Northern Ireland, the Northern Ireland Fire and Rescue Service, the Northern Ireland Ambulance Service and the District Council, and a copy shall be kept with this General Safety Certificate (Appendix 10).

The plan shall cover all reasonably foreseeable contingencies up to and including arrangements for partial and/or total evacuation of the sports ground.  It shall also identify appropriate individuals and their respective tasks.  The plan should also include the actions to be taken in the event of electrical or mechanical failure affecting equipment at the sports ground.

The Qualified Person shall regularly review the Contingency Plan and amend it as appropriate.  The Qualified Person shall forward a copy to the District Council and a copy should be made available to persons authorised under Article 23 of the (2006) Order on request.

The Qualified Person shall ensure that a training exercise is undertaken at least once a year so as to confirm that the procedures as set out in the Contingency Plan be implemented effectively.  The Northern Ireland Fire and Rescue Service, Police Service for Northern Ireland and the Northern Ireland Ambulance Service shall be notified when training is to take place to enable them to observe the effectiveness of the procedures.  Details of training exercises shall be entered in a logbook and be made available to authorised persons on request.

20. This Certificate is issued without prejudice to other legislation regulating the construction or the use of the sports ground or stand, and it does not invalidate any other statutory obligations placed upon the Qualified Person.  The specific requirements of this Certificate 	shall not be regarded as the limit of the obligation placed on the Qualified Person to take all 	necessary precautions for the reasonable safety of spectators admitted to the sports ground.

21. This Certificate is effective from 10th June 2022 and may be amended or replaced at a future date in accordance with Article 7 / Article 16 of the 2006 Order.  The District Council will review this Certificate within a period no greater than 12 months.

Newry Mourne and Down District Council

Health and Wellbeing Department

O’Hagan House

Newry

BT35 8DJ

Signature:  	                                                                                                                Date: 10th June 2022

Assistant Director Health and Wellbeing

Signature:                   __________Date: 01st August 2023

Assistant Director: Environment

Documents to be included with the Certificate:

- Plans and related documents regarding layout of buildings

- Safety policy statement for spectators

- Job description for the Safety Officer and Assistant Safety Officer

- Fire risk assessments

- Contingency plan

- PSNI statement of intent as to working practices and responsibilities at a policed event

Appendix 1

definitions

(See Section 3 of the General Safety Certificate)

See also the Safety of Sports Grounds (Northern Ireland) Order 2006 and The Guide to Safety at Sports Grounds (Green Guide Sixth Edition).

# The Council

The Council referred to is Newry, Mourne and Down District Council

Statement of Intent

Also known as a Memorandum of Understanding.  This is a document which lists the duties and responsibilities of the various parties regarding management arrangements at the sports ground.

Safety Advisory Group (SAG)

This group is chaired by the district council and provides a forum for members to give specialist advice to the District council on the certification of designated sports grounds.  Its membership should include representatives of the Police Service for Northern Ireland, the Northern Ireland Fire and Rescue Service, the Northern Ireland Ambulance Service, the Council department responsible for the enforcement of building control regulations, the council department responsible for the enforcement of Health and Safety legislation (or the Health and Safety Executive for Northern Ireland where appropriate) and the council department responsible for emergency planning. Other stakeholder groups may also be invited to be members. SNI should be invited to meetings to provide advice and guidance but should not be a member of the Safety Advisory Group.

The Qualified Person and representatives of recognised supporters organisations may also be invited to become members and attend meetings where appropriate.

Safety Officer

A person who manages the safety arrangements at a sports ground during a specified activity.  They should have sufficient training, competence and knowledge to enable them to undertake this function.

Assistant Safety Officer

A person who has sufficient training, experience and knowledge of the ground to serve in the safety officer’s absence and to share duties during specified activities.

Spectator

Persons attending a sports ground to view a specified activity and includes able bodied, non able bodied and persons of all age groups.

Specified Activity

Any of the activities listed in Appendix 2, and shall be construed as including the whole period when spectators are in the sports ground.

Steward

A person who has met the training requirements set out in Section 4.10 of the Guide to Safety at Sports Grounds (Green Guide Sixth Edition) or is undergoing training and assessment towards the meeting of such requirements. (see paragraph 4.3 of the Guide to Safety at Sports Grounds (Green Guide Sixth Edition).

Authorised Persons

A person authorised by the Council, Chief Constable, Fire Authority or the department.

The Qualified Person

A person who is in a position to prevent a contravention of the terms and conditions of a certificate.  The Qualified Person holds a position of authority within the management of the venue and may include a chairman, chief executive, secretary, sports ground manager or director, depending on the ground or club.

Appendix 2

Specified Activities

(See Section 7 of the General Safety Certificate)

Activities covered by this Certificate are:

- Soccer

- Any other sporting activities as approved by Newry, Mourne and Down District Council (14 days notice is generally required)

Specified activities must be categorised according to the level of risk associated with the event.  The Qualified Person shall ensure that the Safety Officer use their own records and experience in consultation with the Council and PSNI in determining the categorisation and associated risk for the activity.  The District Council will make the final determination.

CATEGORY A-

Soccer matches with an attendance of between 1 – 250 spectators

CATEGORY A

Soccer matches with an attendance of between 251 – 500 spectators

# CATEGORY A*

Soccer matches with an attendance of between 251 – 500 spectators which may present additional risk*

CATEGORY B

Soccer matches with an attendance of between 501 - 1500 spectators

# CATEGORY B*

Soccer matches with an attendance of between 501 - 1500 spectators which may present additional risk*

# CATEGORY C

Soccer matches with an attendance of between 1501 - 3610 spectators

## CATEGORY C*

Soccer matches with an attendance of between 1501 - 3610 spectators which may present additional risk*

*Rating indicates additional risks associated with fixtures, irrespective of numbers attending.  This may include:

- Fixtures where there is a history of disorderly behaviour

- Fixtures where it is perceived that there might be disorderly behaviour

- Fixtures that are likely to attract a higher proportion of children and young people

- Fixtures that may attract a significant proportion of non English speakers.

### Footnote

As the number of spectators attending a Category A - fixture is very low the risk to spectator safety is also deemed to be low.  Rather than imposing specific safety terms and conditions it will instead be the responsibility of the Qualifies Person to undertake a risk assessment and implement controls accordingly.

APPPENDIX 3

BUILDINGS STRUCTURES AND INSTALLATIONS

(See Section 10 of the General Safety Certificate)

Buildings:	Grand Stand (including rooms within)

Away Stand (including rooms within)

Sponsors Lounge Building

Turnstile Blocks

Toilet Blocks

First Aid Room

Structures:	Home Terracing 1

Home Terracing 2

Away Terracing 1 (including crush barriers)

Away Terracing 2 (including crush barriers)

Lighting Masts

Score Board

Signage

Entrance/exit gates

Pitch Perimeter Walls and Fencing

Gates

Floodlighting Towers

Advertising Boards

Temporary Demountable Structures

Installations:	Plumbing and gas installations

Fire Detection, Fire Alarm and Fire Fighting Equipment

Electrical Installation and Equipment

Public Address System

CCTV System

Heating Installation

Emergency Lighting System

Normal Lighting System

Cooking Installations

The Qualified Person shall ensure that all buildings and structures which are not for the use of spectators are suitably secured to ensure all unauthorised access is denied.

APPENDIX 4

STRUCTURES / EQUIPMENT TESTING ARRANGEMENTS

(See Section 11 of the General Safety Certificate)

| Items to be tested | Guide to Safety at Sports Grounds (Green Guide Sixth Edition) |
| --- | --- |
| Structures | 5.4 & 5.8 |
| Structural Dynamics | 5.5 |
| Lifts | 7.11 |
| Barriers, Guard Rails etc | 11.19, 11.20, 11.21, 11.22, 11.23, 11.24 & 11.25 |
| Temporary Demountable Structures | 14.4, 14.5 & 14.6 |
| Public Address System | 16.18 |
| Electrical Supply & Electrical Equipment including general lighting, emergency lighting, generator, lightning protection | 17.3 |
| Gas Fired Installations. Installations including mobile heating and cooking appliances, pipe-work and meters | 17.14 |
| Boilers and other Heating Devices | 17.15 |
| Media Provision | 19.3 |
| Fire Detection, Fire Alarm and Fire Fighting Equipment | 15.20,15.21, 15.22, 15.23 & 15.24 |

NOTE		The Guide to Safety at Sports Grounds (Green Guide Sixth Edition)

5.12 – Inspections - annual

5.14 – Keeping records &

5.15 – Plans and Specifications

Other items may require testing, this should be done in accordance with manufactures instructions, legal requirements and related guidance and in accordance with best practice.

APPENDIX 5

PERMITTED NUMBERS OF SPECTATORS

(See Section 13 of the General Safety Certificate)

The maximum number of spectators that may be admitted to each part of the sports ground at any one time shall be restricted to:

| LOCATION (within sports ground) | NUMBER OF SPECTATORS PERMITTED |  |
| --- | --- | --- |
|  | Seated | Standing |
| Grand Stand Away Stand Home Terracing Away Terracing | 495 447 0 0 | 0 0 713 1954 |
|  | 942 | 2667 |

TOTAL CAPACITY = 3609

| Category of fixture | Methods of controlling numbers to the sports ground or parts of the sports ground |
| --- | --- |
| Category A - | As identified by the Qualified Persons risk assessment |
| Category A & A* | Counting mechanism to be put in place. Regularly convey information to the safety officer in the control room. |
| Category B & B* | Counting mechanism to be put in place. Regularly convey information to the safety officer in the control room. |
| Category C & C* | Entrance to match by ticket only. Counting mechanism to be put in place. Regularly convey information to the safety officer in the control room. |

| Category of fixture | Access / Egress Arrangements |
| --- | --- |
| Category A - | As identified by the Qualified Persons risk assessment |
| Category A & A* | ##### ACCESS Via Home and Away turnstiles. Minimum number of turnstiles to be available: 2 Away Turnstiles and 2 Home Turnstiles Car park attendants to manage access to and egress from Home and Away car parks. Pitch perimeter gates are to remain unlocked for safe means of egress onto the pitch in an emergency. ##### EXITING Exit 1 – 4.9m Exit 2 – 4.0m Car park attendants to manage access to and egress from Home and Away car parks. |
| Category B & B* | ##### ACCESS Via Home and Away turnstiles. Minimum number of turnstiles to be available: 2 Away Turnstiles and 3 Home Turnstiles Car park attendants to manage access to and egress from Home and Away car parks. Pitch perimeter gates are to remain unlocked for safe means of egress onto the pitch in an emergency. ##### EXITING Exit 1 – 4.9m Exit 2 – 4.0m Car park attendants to manage access to and egress from Home and Away car parks. |
| Category C & C* | ##### ACCESS Via Home and Away turnstiles. Minimum number of turnstiles to be available: 3 Away Turnstiles and 4 Home Turnstiles Car park attendants to manage access to and egress from Home and Away car parks. Pitch perimeter gates are to remain unlocked for safe means of egress onto the pitch in an emergency ##### EXITING Exit 1 – 4.9m Exit 2 – 4.0m Car park attendants to manage access to and egress from Home and Away car parks. |

The means of access and egress to each part of the ground shall be maintained in good condition and unobstructed.

No gate forming part of an escape route shall be locked or fastened in such a way that it cannot be easily and immediately opened by those using that route as an emergency.

Final exit gates must be either secured in an open position, or closed (BUT NOT LOCKED), or staffed at all times when the ground is being used for a specified activity.

Means of access for emergency vehicles shall be fully accessible and shall be kept free of stored goods or other obstructions.

Emergency Evacuation routes must be capable of being safely and effectively used at all times when the ground is occupied.

APPENDIX 6

LOCATIONS AND NUMBERS OF STEWARDS

(See Section 14 of the General Safety Certificate)

The Qualified person shall provide such stewards and other staff to monitor, direct, control and assist spectators during specified activities. The numbers below are the minimum numbers.

Should any Stand be not open to spectators, then an appropriate reduction in the number of stewards is acceptable.

A steward may cover more than one key area but a sufficient number of stewards must be in place at all times so as to ensure the reasonable safety of spectators.

Stewards must be located throughout the sports ground covering key areas where crowd monitoring is required.  These areas will include:

- Gangways & Concourses

- Exit gates

- Areas of known build-up of crowd densities

- Other fixed strategic points as deemed necessary e.g. Gates separating home and away supporters.

| STEWARDS - Category A- Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| As identified in the club’s risk assessment | As identified in the Qualified Persons risk assessment |

| STEWARDS - Category A Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| As appointed by Safety Officer | 4 |

| STEWARDS - Category A* Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| As appointed by Safety Officer | 6 |

| STEWARDS - Category B Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| As appointed by Safety Officer | 12 |

| STEWARDS - Category B* Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| As appointed by Safety Officer | 18 |

| STEWARDS - Category C Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| As appointed by Safety Officer | 20 |

| STEWARDS - Category C* Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| As appointed by Safety Officer | 40 |

| OTHER STAFF - Category A- Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| As identified in the club’s risk assessment | As identified in the club’s risk assessment |

| OTHER STAFF - Category A Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| Safety Officer or Assistant Safety Officer | 1 |
| Car Park Attendants | 1 |
| Turnstile Operators | As per number of open turnstiles |

| OTHER STAFF - Category A* Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| Safety Officer or Assistant Safety Officer | 1 |
| Car Park Attendants | 2 |
| Turnstile Operators | As per number of open turnstiles |

| OTHER STAFF - Category B Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| Safety Officer or Assistant Safety Officer | 1 |
| Car Park Attendants | 4 |
| Turnstile Operators | As per number of open turnstiles |

| OTHER STAFF - Category B* Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| Safety Officer or Assistant Safety Officer | 1 |
| Car Park Attendants | 5 |
| Turnstile Operators | As per number of open turnstiles |

| OTHER STAFF - Category C Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| Safety Officer | 1 |
| Assistant Safety Officer | 1 |
| Car Park Attendants | 6 |
| Turnstile Operators | As per number of open turnstiles |

| OTHER STAFF - Category C* Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| Safety Officer | 1 |
| Assistant Safety Officer | 1 |
| Car Park Attendants | 8 |
| Turnstile Operators | As per number of open turnstiles |

| EQUIPMENT - Category A- Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| As identified in the club’s risk assessment | As identified in the club’s risk assessment |

| EQUIPMENT - Category A & A* Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| Short Wave Radios | 4 |
| High Visibility Jackets/vests | 1 per steward |
| Steward torches (night time fixtures) | 1 per steward |

| EQUIPMENT - Category B & B* Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| Short Wave Radios | 9 |
| High Visibility Jackets/vests | 1 per steward |
| Steward torches (night time fixtures) | 1 per steward |

| EQUIPMENT - Category C & C* Events |  |
| --- | --- |
| Location within venue | Minimum Number |
| Short Wave Radios | 15 |
| High Visibility Jackets/vests | 1 per steward |
| Steward torches (night time fixtures) | 1 per steward |

APPENDIX 7

FIRST AID / MEDICAL

Staff, Equipment, Facilities and Accommodation

(See Section 15 of the General Safety Certificate)

# CATEGORY A- ACTIVITIES In accordance with the Club’s assessment of the medical cover required

# CATEGORY A & A* ACTIVITIES Two suitably trained first aiders Dedicated First Aid Room for Spectators in compliance with 18.8 of the Green Guide with equipment and materials (18.9) The First Aid Room should be maintained, inspected before an event and available at any time for inspection by ground management and the District Council. A medical plan in accordance with 18.5 of the Green Guide.

# CATEGORY B & B* ACTIVITIES Two suitably trained first aiders Dedicated First Aid Room for Spectators in compliance with 18.8 of the Green Guide with equipment and materials (18.9) The First Aid Room should be maintained, inspected before an event and available at any time for inspection by ground management and the District Council. A medical plan in accordance with 18.5 of the Green Guide.

# CATEGORY C & C* ACTIVITIES Two suitably trained first aiders Crowd Doctor Dedicated First Aid Room for Spectators in compliance with 18.8 of the Green Guide with equipment and materials (18.9) The First Aid Room should be maintained, inspected before an event and available at any time for inspection by ground management and the District Council. A medical plan in accordance with 18.5 of the Green Guide.

First aiders shall:

- have no other duties or responsibilities

- be in post at the ground prior to the spectators being admitted

- remain in position until stood down by the safety officer

###### APPENDIX 8

FIRE SAFETY

Control Arrangements

(See Section 16 of the General Safety Certificate)

The fire detection, suppression and warning alarm equipment and installation are to be maintained in good working order at all times in accordance with BS 5839, BS 999 – 2008, BS 5306.

Provide training to all staff in fire awareness including the correct use of portable fire fighting media and instruction in the correct procedures upon discovery of fire, or the activation of the fire alarm system.

Provide and instruct suitably trained staff to monitor the fire alarm panel, provide spectators with fire escape information and maintain clear passage to and egress through emergency gates.  Maintain a record of all trained staff.

Appoint dedicated staff to assist those with mobility, hearing or visual problems and any youth groups or large groups of younger supporters.

Ensure escape routes are provided with adequate signage.

Implement all control measures required in the most recent Fire Risk Assessment.

Mobile Catering Units at the site must comply with the following requirements:

- Each unit should be located on a suitable level surface not obstructing or impeding access or egress for spectators.

- Generators must be in good condition and refuelling must not take place while the exhaust/engine is still hot. No generator fuel must be stored in or near the mobile catering unit.

- Each unit with Liquefied petroleum gas should be inspected and tested at least once a year by a competent person and an inspection report made available for inspection by the District Council.

- The unique Identification number for all units is to be held by the Qualified Person.

- The electrical installation to each mobile catering unit is to be inspected and tested on an annual basis by an approved Electrical Contractor and a copy of the electrical test certificate made available for inspection by the District Council.

- Each mobile catering unit is to be provided with adequate fire extinguishers, located in readily accessible positions adjacent to an exit of the unit.  Extinguishers should be selected and maintained in accordance with BS 5306.

  - Powder extinguisher

  - When frying is carried out, a fire blanket should be provided

  - When deep fat frying is carried out a 9 litre foam extinguisher

- Staff in mobile units are to receive training from the unit operators in respect of LPG characteristics and actions in the case of fire.   Written instruction must be available regarding changeover of gas cylinders and correct use of appliances.

Appendix 9

communication arrangements

(See Section 17 of the General Safety Certificate)

| Category A - Fixtures | As identified by Qualified Persons assessment |
| --- | --- |
| Category A & A* Fixtures | Public Address System is audible in all occupied parts of the ground Two Loud Hailers External Phone Line |
| Category B & B* Fixtures | Public Address System is audible in all occupied parts of the ground Three Loud Hailers External Phone Line |
| Category C & C* Fixtures | Public Address System is audible in all occupied parts of the ground Four Loud Hailers External Phone Line |

Footnote

Also see stewards’ equipment in Appendix 6

APPENDIX 10

MISCELLANEOUS

(See Section 18 of the General Safety Certificate)

Segregation

Where segregation of supporters is considered appropriate, the Qualified Person must consult with the PSNI regarding the methods to be used for the segregation of any groups of spectators in the interests of preserving public order.

Segregation of supporters can be effected by the use of separate entrancing and exiting points.  In addition to a neutral or sterile zone the use of a line of stewards and/or a line of tape of suitable fire resistant material draped over a width of several seats from the front to the back of the tier of seating can be used.

Car Parking

Vehicles must not be allowed to exit from the main car park for 15 minutes either side of the final whistle and when the mass of spectators have left the ground.  Parking in the car park must be controlled so as to ensure access for emergency vehicles is maintained at all times.

Ticketing

If tickets are sold on the day of the event an effective ticketing strategy which has been agreed with the PSNI and the District Council, in writing, should be in place at the venue.

APPENDIX 11

PLANS AND RELATED DOCUMENTATION

(See Section 19 of the Safety Certificate)

Documents to be included with the Certificate:

- Plans and related documents regarding layout of buildings

- Safety policy statement for spectators

- Job description for the Safety Officer and Assistant Safety Officer

- Fire risk assessments

- Contingency plan

- PSNI statement of intent